## Daily Temp Chart
Temperature Monitoring Chart for Cold Chain Equipment Operation
| Month: | [6 empty] | Year:
Source of Energy
| District Store Name | [6 empty] | Health Facility Name | [10 empty] | Equipment Type | [10 empty] | Equipment Model | [6 empty] | Equip. No. | [5 empty] | (Electricity/Paraffin/Gas/Solar) | [13 empty] | Installation Year
Instructions: (1) Make a dot corresponding to the temperature reading in the morning (AM) and evening (PM) and connect the dots to draw graph; (2) Indicate Fridge-tag 2 status; (3) Indicate the maximum and minimum alarm status; (4) Indicate action taken; (5) Person monitoring sign initials; (6) Supervisor to review the record every month.
Day |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 13 |  | 14 |  | 15 |  | 16 |  | 17 |  | 18 |  | 19 |  | 20 |  | 21 |  | 22 |  | 23 |  | 24 |  | 25 |  | 26 |  | 27 |  | 28 |  | 29 |  | 30 |  | 31
(1) Temperature chart | ° C | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm | am | pm
+15
+14
+13
+12
+11
+10
+9
+8
+7
+6
+5
+4
+3
+2
+1
0
-1
-2
-3
-4
-5
-6
-7
-8
-9
-10
-11
-12
-13
-14
-15
(2) Fridge-tag 2: Indicate ü for OK or X for an alarm
(3) >+8 °C alarm |  | Once every 24 hours, enter high alarm status and maximum temperature recorded by the continuous temperature monitoring device
ü for OK or X for alarm
If alarm, maximum °C
(3) < -0.5 °C alarm |  | Once every 24 hours, enter low alarm status and minimum temperature recorded by the continuous temperature monitoring device
ü for OK or X for alarm
If alarm, minimum °C
(4) Indicate action taken if unsafe temperature recorded (use "Code for action taken" below)
(5) Initials
| *Code for action taken: |  |  |  |  | 1 | Moved vaccines to another fridge | [14 empty] | 3 | Repaired equipment | [13 empty] | 5 | Shake test | [11 empty] | 7 | No action taken
[6 empty] | 2 | Moved vaccines to another health facility | [14 empty] | 4 | Received kerosene/gas | [13 empty] | 6 | Adjusted thermostat | [11 empty] | 8 | Others
(6) Supervisor name: | [16 empty] | Date: | [10 empty] | Signature: | [10 empty] | Remarks:
UNSAFE TEMPERATURE RANGE
UNSAFE TEMPERATURE RANGE